## Slide 1
orchestrator PC
IP: 192.168.10.90
Attacker
(Raspberry PI)
IP: 192.168.10.91
1.1 False data injection Atk on cmd
SCADA PC
IP: 192.168.10.21
Modbus TCP/feedback cmd
OT Railway module
PLC IP: 192.168.10.71/72/73
1.2 Reverse Runway light control and feedback signal data.
Technical PC
IP: 192.168.10.251
2.1 Blackout Atk on cmd
2.2 MS-Word document with embedded macrodocument from phishing email
2.3 Scan the network and fetch PLC information.
2.4 Send atk active cmd
2.5 Block the network, feed fake data to HMI, turn off all the output of PLC
Generator Controller (Raspberry PI)
IP: 192.168.10.244
Generator 3D Module
Serial COM
Power
2.7 Create the fake generator turn off cmd to cut off the power supply
3.1 Stealthy Substation Attack
3.2 Create unstable load feed back cmd from substation module

## Slide 2
Orchestrator PC
SCADA HMI PC
Technical PC

## Slide 4
PLC3 M221 IP[192.168.10.73]
PLC1 M221 IP[192.168.10.71]
PLC2 S7-1200 IP[192.168.10.72]

## Slide 5
PLC3 M221 IP[192.168.10.73]
PLC1 M221 IP[192.168.10.71]
PLC2 S7-1200 IP[192.168.10.72]

## Slide 6
Substation LED Indicator
Generator Fuel Pump
Generator Moto
Generator output frequency and Voltage Display LCD Screen